## Gage R&R
Gauge R&R Study, ANOVA Method (crossed)
Enter part, operator and measurement in columns A to C (balanced study: every operator measures every part the same number of times). List the part and operator IDs in F and H.
Part | Operator | Measurement | Cell mean | Part ID | Part mean | Operator ID | Operator mean
1 | A | 5.167 |  | 1 |  | A |  | Tolerance (USL - LSL) | 4
1 | A | 5.137 |  | 2 |  | B |  | Study multiplier (6 = 99.73%) | 6
1 | A | 5.234 |  | 3 |  | C |  | Parts (p)
1 | B | 5.307 |  | 4 |  |  |  | Operators (o)
1 | B | 5.255 |  | 5 |  |  |  | Trials (r)
1 | B | 5.332 |  | 6 |  |  |  | Grand mean
1 | C | 5.099 |  | 7 |  |  |  | SS total
1 | C | 5.107 |  | 8 |  |  |  | SS part
1 | C | 5.094 |  | 9 |  |  |  | SS operator
2 | A | 5.169 |  | 10 |  |  |  | SS cells (part x operator means)
2 | A | 5.109 | [5 empty] | SS part x operator
2 | A | 5.118 | [5 empty] | SS repeatability
2 | B | 5.16
2 | B | 5.091
2 | B | 5.115 | [5 empty] | Source | DF | SS | MS | F | p
2 | C | 5.113 | [5 empty] | Part
2 | C | 5.03 | [5 empty] | Operator
2 | C | 5.062 | [5 empty] | Part x Operator
3 | A | 5.276 | [5 empty] | Repeatability
3 | A | 5.346 | [5 empty] | Total
3 | A | 5.407
3 | B | 5.568 | [5 empty] | Pool interaction? (p > 0.25)
3 | B | 5.401 | [5 empty] | MS used for repeatability
3 | B | 5.465
3 | C | 5.413 | [5 empty] | Source | Variance | % Contribution | Std dev | Study var | % Study var | % Tolerance
3 | C | 5.286 | [5 empty] | Total Gage R&R
3 | C | 5.324 | [5 empty] | Repeatability
4 | A | 5.426 | [5 empty] | Reproducibility
4 | A | 5.461 | [5 empty] | Operator
4 | A | 5.401 | [5 empty] | Part x Operator
4 | B | 5.503 | [5 empty] | Part-to-Part
4 | B | 5.504 | [5 empty] | Total Variation
4 | B | 5.484
4 | C | 5.507 | [5 empty] | Number of distinct categories
4 | C | 5.397 | [5 empty] | Verdict
4 | C | 5.275 | [5 empty] | AIAG guidance: %Study var under 10% is acceptable, 10-30% may be acceptable, over 30% is not. ndc should be 5 or more.
5 | A | 4.558
5 | A | 4.608
5 | A | 4.488
5 | B | 4.589
5 | B | 4.561
5 | B | 4.629
5 | C | 4.604
5 | C | 4.548
5 | C | 4.512
6 | A | 5.51
6 | A | 5.564
6 | A | 5.572
6 | B | 5.647
6 | B | 5.671
6 | B | 5.639
6 | C | 5.691
6 | C | 5.569
6 | C | 5.478
7 | A | 4.855
7 | A | 4.867
7 | A | 4.892
7 | B | 4.884
7 | B | 4.847
7 | B | 4.888
7 | C | 4.921
7 | C | 4.767
7 | C | 4.85
8 | A | 5.526
8 | A | 5.541
8 | A | 5.597
8 | B | 5.62
8 | B | 5.605
8 | B | 5.519
8 | C | 5.51
8 | C | 5.518
8 | C | 5.562
9 | A | 5.102
9 | A | 5.105
9 | A | 5.206
9 | B | 5.189
9 | B | 5.162
9 | B | 5.232
9 | C | 5.151
9 | C | 5.106
9 | C | 5.074
10 | A | 4.748
10 | A | 4.664
10 | A | 4.64
10 | B | 4.803
10 | B | 4.805
10 | B | 4.837
10 | C | 4.619
10 | C | 4.647
10 | C | 4.698